MEG Management Committee meeting

18.06.2008, 14:00hrs, West Wing Seminar Room, CBU

Minutes

- Present:  Friedemann Pulvermuller, Yury Shtyrov, Rhodri Cusack, Olaf Hauk, Clare Dine, Marie Smith, Georgie Morrill (minutes).

- Apologies for absences

- Rik Henson

- Rob Anthony

- Gary Chandler

- Maarten Van Casteren

- Matters arising

None.

- Minutes from the last meeting

Approved.

- Computing

YS informed the committee that he briefly spoke with RA and he would like some advice on what to do for the release candidate.  FP asked about what version we have.  YS confirmed that we have the beta testing version and the new version which is now available has the Linux version of Max Filter and Graph and the major change is that it doesn’t require Neuro Directory so it can be installed anywhere.  RC suggested that it could be run parallel with the current one and YS reported that it could be installed on a single desktop.

Action point:  RC to liaise with Rob about installation process.

- Neuromag visit

YS reported that Neuromag fitted some new parts, sorted the light switch problem and moved the EEG amps back into the gantry which solved the 50 Hz issue too.  Unfortunately there hasn’t been too much MEG lab usage since except for GSK studies so has been difficult to see if the issues have actually been solved.  FP enquired how many GSK slots had taken place (around 8) and it was noted that they didn’t use some of the slots booked.

Action point: GM to look into how many were officially cancelled and if they should pay for those that weren’t.

- Lab Business and Progress

6.1  Acquisition software – To be discussed at next meeting.

6.2	Simultaneous MEG and EEG recordings – To be discussed at next meeting.

6.3  MEG Operator / Researcher Qualification Procedure – MS will become an approved operator by the end of the week as has spent sufficient time shadowing MvC, OK and CD.  MS will operate for the first time alone for the GSK study on Tuesday.  OK and CD will be around from 8am though in case she should need any help.

6.4  Eye tracker – Nothing to report

6.5 Visual supine stimulation – Nothing to report

.

6.6  Foot pedal – Nothing to report

6.7  Other issues – FP has received a letter from Neuromag asking about the rest of the owed money.  It was agreed that we need a few more months of recordings before the CBU will be happy to pay.  YS has also enquired about an estimate for building costs.

- MEG Lab usage

GM showed the committee the spreadsheet showing the usage of the lab with current, finished and approved but not started projects.  Some errors were pointed out which GM will look into.  Also GM will check with Marion about recently approved projects at the IMC.

FP commented on the amount of finished projects and RC suggested to hold an event opposite to the ‘name and shame’ to show all successful projects and results to try and get others to report back.

Action:  GM to speak to Marion and update spreadsheet.

- AOB

None.

- Date of the next meeting

Wednesday 16th July in the West Wing Seminar Room.