## CALCULATOR
Sample size calculation for Sensitity & Specificity Studies
Instruction:
Enter five values in yellow areas only. Then, read the sample size in blue colour box.
If you want to know how it is calculated, read the explanation in the next sheet.
Expected Sensitivity | 0.9 | ◄ From literature or pilot study
Expected Specificity | 0.9 | ◄ From literature or pilot study
Expected Prevalence | 0.8 | ◄ From literature or pilot study
Desired Precision | 0.05 | ◄ Researcher's judgment
Confidence level | 95% | ◄ 95% is recommended. | 1.96
+ Dis -
To achieve the precision of 0.05 for 'Sensitivity', we need 'the total sample size' of |  |  |  | Sen= | 0.9 | 126 | 3
= | 174 | ◄ Warning: This sample size will not give the precision of 0.05 for Specificity. |  |  |  | 14 | 31
With this sample size, the precision for 'Specificity' will be |  |  |  | Prevalence= | 0.8 | 140 | 34 | 174
= | 0.099674 |  |  | Precision= |  | 0.05 | 0.099674
[6 empty] | Sen | Spec
+ Dis -
To achieve the precision of 0.05 for 'Specificity', we need 'the total sample size' of | [5 empty] | 501 | 14
= | 696 | ◄ This is preferable as it will give the precision of 0.05 or less for both Sensitivity and Specificity. |  |  |  | 56 | 125 | 0.9 | =Spec
With this sample size, the precision for 'Sensitivity' will be |  |  |  | Prevalence= | 0.8 | 557 | 139 | 696
= | 0.024918 |  |  | Precision= |  | 0.024918 | 0.05
[6 empty] | Sen | Spec
Written by Dr Lin Naing @ Mohd. Ayub Sadiq, School of Dental Sciences, Universiti Sains Malaysia (naing@kck.usm.my)
dated 23-Mar-2004